## Feuil1
Day | Experiment | Core configuration | Start time of the measurement | Start Cell | End cell | Number of cells | Reactor Period (s) onsite | Reactor Period (s) matlab | Rho (cents) on site | Rho (cents) matlab | Reactor Tank Average Temperature | Test section temperature (average) | Test section inlet temperature average | Test section outlet temperature average | Loop water flow rate
05 25 16 | Reactor excess reactivity | 333 pins | 16h55 | 812 | 1037 | 226 | 35.34 | 35.34 | 20.5 | 20.57 | 56.18
05 25 16 | critical height : 25.91 " | 333 pins | 17h20 | - | - |  | - | - | - | - | 56.21
05 25 16 | Reactor excess reactivity | 332 pins - (-7,-7) | 17h57 | 4460 | 4644 | 185 | 93.05 | 118.76 | 10.5 | 8.64 | 56.4
05 25 16 | Reactor period : sub critical | 331 pins - (7,7) | 18h45 | - | - |  | - | - | - | - | 56.4
05 25 16 | Reactor excess reactivity | 331 pins + (7,7) -(0,0) | 19h05 | 8543 | 8902 | 360 | 31.02 | 29.84 | 22.3 | 22.81 | 56.3
05 25 16 | Reactor excess reactivity | 332 pins + (-7,-7) | 19h28 | 9975 | 10108 | 134 | 15 | 15.38 | - | 32.76 | 56.33
06 03 16 | Reactor excess reactivity - Temperature coeff | 332 pins | 10h01 | 1044 | 1300 | 257 | 93.92 | 98.91 | 10.39 | 9.99 | 60.51
06 03 16 | Reactor excess reactivity - Temperature coeff | 332 pins | 10h24 | 2443 | 2648 | 206 | 99.18 | 101.32 | 9.966 | 9.8 | 62.57
06 03 16 | Reactor excess reactivity - Temperature coeff | 332 pins | 10h45 | 3579 | 3916 | 338 | 102.14 | 116.37 | 9.807 | 8.78 | 65.24
06 03 16 | Reactor excess reactivity - Temperature coeff | 332 pins | 11h07 | 5105 | 5406 | 302 | 100.41 | 103.61 | 9.864 | 9.63 | 67.45
06 03 16 | Reactor excess reactivity - Temperature coeff | 332 pins | 11h38 | 6923 | 7230 | 308 | 102.49 | 106.6 | 9.714 | 9.41 | 70.35
06 03 16 | Reactor excess reactivity - Temperature coeff | 332 pins | 12h06 | 8619 | 8945 | 327 | 109.2 | 107.18 | 9.24 | 9.37 | 73.02
06 03 16 | Reactor excess reactivity - Temperature coeff | 332 pins | 12h45 | 10944 | 11305 | 362 | 120.9 | 127.76 | 8.528 | 8.14 | 78.11
06 03 16 | Reactor excess reactivity - Temperature coeff | 332 pins | 13h30 | 13516 | 13961 | 446 | 148.58 | 153.76 | 7.193 | 6.99 | 83.23
06 03 16 | Reactor excess reactivity - Temperature coeff | 332 pins | 14h06 | 15744 | 16349 | 606 | 202.26 | 209.31 | 5.535 | 5.37 | 88.07
06 03 16 | Reactor excess reactivity - Temperature coeff | 332 pins | 14h45 | 18050 | 18757 | 708 | 238.98 | 236.86 | 4.784 | 4.82 | 89.91
06 03 16 | Moderator Temperature Feedback | 332 pins | 14h57 - 15h15 | 18832 | 20012 | 1181 | - | - | - | - | 91.03
06 03 16 | Reactor excess reactivity - Temperature coeff | 332 pins | 15h47 | 22073 | 23420 | 1348 | 447.16 | 459.96 | 2.708 | 2.64 | 94.47
06 03 16 | Reactor excess reactivity - Temperature coeff | 332 pins | 16h41 (16h55) | 25020 | 28349 | 3330 | 1561.7 | 1891.2 | 0.817 | 0.68 | 97.74
06 03 16 | Moderator Temperature Feedback | 332 pins | 17h38-17h57 | 28444 | 29727 | 1284 | - | - | - | - | 99.62
07 22 16 | Reactor excess reactivity - Temperature coeff | 333 pins | 9h34 | 1409 | 1539 | 131 | 29.96 | 43.79 | 18.09 | 17.94 | 85.5
07 22 16 | Reactor excess reactivity - Temperature coeff | 333 pins | 9h55 | 2794 | 2943 | 150 | 34.4 | 50.07 | 16.5 | 16.41 | 87.8
07 22 16 | Reactor excess reactivity - Temperature coeff | 333 pins | 10h16 | 4056 | 4212 | 157 | 35.9 | 51.53 | 16 | 16.09 | 90.2
07 22 16 | Reactor excess reactivity - Temperature coeff | 333 pins | 10h40 | 5503 | 5669 | 167 | 38.4 | 55.23 | 15.9 | 15.34 | 92.8
07 22 16 | Reactor excess reactivity - Temperature coeff | 333 pins | 11h14 | 7521 | 7714 | 194 | 44.6 | 67.1 | 13.8 | 13.37 | 96.2
07 22 16 | Reactor excess reactivity - Temperature coeff | 333 pins | 11h49 | 9611 | 9849 | 239 | 54.9 | 82.47 | 11.8 | 11.48 | 99.9
07 22 16 | Reactor excess reactivity - Temperature coeff | 333 pins | 12h24 | 11748 | 12049 | 302 | 69.2 | 103.88 | 9.9 | 9.61 | 104
07 22 16 | Reactor excess reactivity - Temperature coeff | 333 pins | 13h01 | 14072 | 14782 | 711 | 96.3 | 149.28 | 7.6 | 7.16 | 107.2
07 22 16 | Reactor excess reactivity - Temperature coeff | 333 pins | 13h35 | 16026 | 16526 | 501 | 115 | 177.03 | 6.54 | 6.2 | 109.6
07 22 16 | Reactor excess reactivity - Temperature coeff | 333 pins | 14h14 | 18049 | 18779 | 731 | 171.2 | 258.31 | 4.64 | 4.47 | 112
07 22 16 | Reactor excess reactivity - Temperature coeff | 333 pins | 14h54 | 20751 | 21825 | 1075 | 248 | 372.59 | 3.32 | 3.21 | 113.9
06 28 17 | Reactor excess reactivity - test section | 405 + (10,8) | 15h29 | - | - |  | - | - | 3.47 | - | 65.6 | - | DATA RECORD NOT ACTIVATED THAT DAY
06 28 17 | Critical height : 33.08 | 405 + (10,8) | 15h29 | - | - |  | - | - | - | - | 65.6 | -
06 28 17 | Reactor excess reactivity - test section | 406 + (-10,-8) | 17h45 | - | - |  | - | - | 8.75 | - | 66.4 | -
06 28 17 | Critical height : 30.72 | 406 + (-10,-8) | 17h49 | - | - |  | - | - | - | - | 66.4 | -
06 28 17 | Reactor excess reactivity - test section | 407 + (-8,10) | 18h11 | - | - |  | - | - | 12.4 |  | 66.4 | -
06 28 17 | Critical height : 29.3 | 407 + (-8,10) | 18h15 | - | - |  | - | - | - | - | 66.4 | -
06 28 17 | Reactor excess reactivity - test section | 408 + (8, -10) | 18h35 | - | - |  | - | - | 19.4 |  | 66.4 | -
06 28 17 | Critical height : 27.74 | 408 + (8, -10) | 18h45 | - | - |  | - | - | - | - | 66.4 | -
06 29 17 | Reactor excess reactivity - test section | 407 - (0,6) | 12h42 | 8667 | 8828 | 162 | 21 |  | 25.7 | 25.49 | 65.2 | 68
06 29 17 | Reactor excess reactivity - test section | 407 - (6,-6) | 12h54 | 10968 | 11158 | 191 | 26 |  | 23.3 | 23.9 | 65.2 | 68
06 29 17 | Test section temperature profile | 408 | 15h08 | 18155 | 20400 | 2246 | 460 |  | 2-2.7 | 1.95 | 64.9 | 86.5 (89.1 to 84.7) |  |  | 10
06 29 17 | Critical height with heated test section: 27.37 | 408 | - | - | - | - | - | - | - | - | 65.2 | 86
06 29 17 | Moderator temperature feedback | 408 | 15h54-16h14 | 20450 | 21644 | 1195 | - | - | - | - | 65.2 | 85 to 83
07 18 17 | Test section temperature profile | 408 | 15h12 | 8556 | 8729 | 174 | 19.67 |  | 23.4 | 21.09 | 71 | 125.25 | 128.4 | 122.1 | 13
07 18 17 | Test section temperature profile | 408 | 15h36 | 10020 | 10096 | 77 | - |  | - | [5 empty] | 10.8
07 18 17 | Test section temperature profile | 408 | 15h52 | 10897 | 11060 | 164 | 16.83 |  | 25.7 | 21.95 | 72.6 | 128.95 | 132.7 | 125.2 | 10.8
07 18 17 | Test section temperature profile | 408 | 16h09 | 12015 | 12179 | 165 | 15.63 |  | 26.7 | 22.03 | 73.3 | 130.8 | 135.2 | 126.4 | 8.4
07 18 17 | Test section temperature profile | 408 | 16h27 | 13083 | 13255 | 173 | 18.1 |  | 24.6 | 21.86 | 73.8 | 129.7 | 135 | 124.4 | 8.4
07 18 17 | Test section temperature profile | 408 | 16h47 | 14239 | 14431 | 193 | 19.89 |  | 23.3 | 20.74 | 74.1 | 124.05 | 130.4 | 117.7 | 6.4
07 18 17 | Test section temperature profile | 408 | 17h06 | 15371 | 15581 | 211 | 20.99 |  | 22.6 | 20.14 | 74.3 | 118.2 | 127.2 | 109.2 | 4.5
07 18 17 | Moderator temperature feedback | 408 | 17h34 to 18h09 | 16830 | 19245 | 2416 | - | - | - | - | 77 to 77.7 | 120.5 to 103 | 124 to 105 | 116.8 to 101.1 | 3.6
07 19 17 | Reactor excess reactivity - Test section Temperature coeff | 408 | 18h10 | 1207 | 1326 | 120 | - |  | -
07 19 17 | Reactor excess reactivity - Test section Temperature coeff | 408 | 18h27 | 2124 | 2354 | 231 | - |  | -
07 19 17 | Reactor excess reactivity - Test section Temperature coeff | 408 | 18h45 | 3252 | 3367 | 116 | - |  | -
07 19 17 | Reactor excess reactivity - Test section Temperature coeff | 408 | 19h01 | 4185 | 4380 | 196 | - |  | -
07 19 17 | Reactor excess reactivity - Test section Temperature coeff | 408 | 19h22 | 5433 | 5618 | 186 | - |  | -
07 19 17 | Reactor excess reactivity - Test section Temperature coeff | 408 | 19h39 | 6480 | 6598 | 119 | - |  | -
08 28 17 | Test section temperature profile | 408 | 14h43 | 1502 | 1895 | 394 | - |  | - | [5 empty] | 8.6
08 28 17 | Test section temperature profile | 408 | 15h30 | 4339 | 4655 | 317 | - |  | - | [5 empty] | 5.2
08 28 17 | Moderator temperature feedback | 408 | 15h36 | 4668 | 5535 | 868 | - |  | -
08 28 17 | Test section temperature profile | 408 | 16h04 | 6352 | 6542 | 191 | - |  | - | [5 empty] | 11
08 28 17 | Moderator temperature feedback | 408 | 16h07 | 6551 | 6910 | 360 | - |  | -
10 18 17 | Reactor excess reactivity - test section | 408 | 14h53 | 5558 | 5785 | 228 | 26.91 |  | 19.3 | 19.1984
10 18 17 | Critical height : 28.10 | 408 | 15h50 | - | - | - | - | - | - | -
10 18 17 | Critical height : 28.26 | 408 | 16h12 | - | - | - | - | - | - | -
10 18 17 | Test section temperature profile | 408 | 16h41 | 5558 | 5785 | 228 | 330.2 |  | 2.55 | 2.7122 |  |  |  |  | 12.7
10 18 17 | Critical height : 28.42 | 408 | 19h09 | - | - | - | - | - | - | -
10 18 17 | Test section temperature profile | 408 | 19h19 | 14066 | 14953 | 888 | 177.2 |  | 4.5 | 4.6422 |  |  |  |  | 12.7
10 20 17 | Critical height : 28.07 | 408 | 10h46 | - | - | - | - | - | - | -
10 20 17 | Test section temperature profile | 408 | 11h28 | 4154 | 4645 | 492 | 226.8 |  | 3.61 | 2.9535 |  |  |  |  | 9.2
10 20 17 | Test section temperature profile | 408 | 11h42 | 5000 | 5643 | 644 | 244 |  | 3.37 | 3.1059 |  |  |  |  | 7
10 20 17 | Test section temperature profile | 408 | 12h13 | 6900 | 7379 | 480 | 194.9 |  | 4.13 | 4.5994 |  |  |  |  | 5.7
10 20 17 | Test section temperature profile | 408 | 12h25 | 7590 | 8057 | 468 | 206.7 |  | 3.92 | 3.8219 |  |  |  |  | 2.6
10 20 17 | Test section temperature profile | 408 | 12h52 | 9210 | 9510 | 301 | 114.8 |  | 6.56 | 6.5529 |  |  |  |  | 12.7
10 20 17 | Test section temperature profile | 408 | 13h07 | 10060 | 10260 | 201 | 101.5 |  | 7.27 | 7.7056 |  |  |  |  | 9.6
10 20 17 | Test section temperature profile | 408 | 13h25 | 11166 | 11437 | 272 | 109.3 |  | 6.84 | 6.3998 |  |  |  |  | 7
10 20 17 | Critical height : 28.35 | 408 | 14h11 | - | - | - | - | - | - | -
10 20 17 | Test section temperature profile | 408 | 14h12 | 13980 | 14239 | 260 | 123.5 |  | 6.17 | 5.8758 |  |  |  |  | 5.7
10 20 17 | Test section temperature profile | 408 | 14h22 | 14680 | 14927 | 248 | 121.3 |  | 6.26 | 6.0717 |  |  |  |  | 3
10 25 17 | Reactor excess reactivity - test section | 408 | 10h25 | 775 | 875 | 101 | 28.27 |  | 18.7 | [5 empty] | -
10 25 17 | Critical height : 27.97 | 408 | 10h51 | - | - | - | - | - | - | - |  |  |  |  | -
10 25 17 | Test section temperature profile | 408 | 10h52 | 2500 | 3500 | 1001 | 404.1 |  | 2.11 | [5 empty] | 3
10 25 17 | Test section temperature profile | 408 | 11h12 | 3680 | 4650 | 971 | 333.2 |  | 2.53 | [5 empty] | 8
10 25 17 | Test section temperature profile | 408 | 11h31 | 4820 | 5450 | 631 | 292.9 |  | 2.85 | [5 empty] | 13
10 25 17 | Critical height : 28.04 | 408 | 12h03 | - | - | - | - | - | - | - |  |  |  |  | -
10 25 17 | Test section temperature profile | 408 | 12h04 | 6715 | 7335 | 621 | 201.6 |  | 4.01 | [5 empty] | 3
10 25 17 | Test section temperature profile | 408 | 12h16 | 7500 | 7840 | 341 | 161.1 |  | 4.9 | [5 empty] | 8
10 25 17 | Test section temperature profile | 408 | 12h23 | 7980 | 8230 | 251 | 138.6 |  | 5.58 | [5 empty] | 13
10 25 17 | Critical height : 28.21 | 408 | 12h56 | - | - | - | - | - | - | - |  |  |  |  | -
10 25 17 | Test section temperature profile | 408 | 12h57 | 10235 | 10570 | 336 | 107.7 |  | 6.92 | [5 empty] | 3
10 25 17 | Test section temperature profile | 408 | 13h09 | 10670 | 10845 | 176 | 91.1 |  | 7.95 | [5 empty] | 8
10 25 17 | Test section temperature profile | 408 | 13h14 | 10894 | 11078 | 185 | 86.02 |  | 8.34 | [5 empty] | 13
10 25 17 | Critical height : 28.42 | 408 | 13h41 | - | - | - | - | - | - | - |  |  |  |  | -
10 25 17 | Test section temperature profile | 408 | 13h42 | 12572 | 12896 | 325 | 77.89 |  | 9.03 | [5 empty] | 3
10 25 17 | Test section temperature profile | 408 | 13h47 | 12920 | 13094 | 175 | 73.62 |  | 9.44 | [5 empty] | 8
10 25 17 | Test section temperature profile | 408 | 13h50 | 13134 | 13357 | 224 | 75.97 |  | 9.21 | [5 empty] | 13
10 25 17 | Reactor Period - test section | 408 | 14h48 | 17241 | 17338 | 98 | [8 empty] | -
10 25 17 | Reactor Period - test section | 407 -(0,-3) | 15h39 | 19729 | 19982 | 254 | [8 empty] | -
10 25 17 | Reactor Period - test section | 408 | 17h20 | 25797 | 26010 | 214 | [8 empty] | -
10 27 17 | Reactor excess reactivity - Test section Temperature coeff | 408 | 14h16 | 816 | 1077 | 262 | [8 empty] | -
10 27 17 | Reactor excess reactivity - Test section Temperature coeff | 408 | 14h35 | 2100 | 2346 | 247 | [8 empty] | -
10 27 17 | Reactor excess reactivity - Test section Temperature coeff | 408 | 14h52 | 3277 | 3518 | 242 | [8 empty] | -
10 27 17 | Reactor excess reactivity - Test section Temperature coeff | 408 | 15h11 | 4477 | 4720 | 244
10 27 17 | Reactor excess reactivity - Test section Temperature coeff | 408 | 15h32 | 5646 | 5876 | 231
10 27 17 | Reactor excess reactivity - Test section Temperature coeff | 408 | 15h52 | 6890 | 7123 | 234
10 27 17 | Reactor excess reactivity - Test section Temperature coeff | 408 | 16h11 | 8044 | 8266 | 223
10 27 17 | Reactor excess reactivity - Test section Temperature coeff | 408 | 16h34 | 9426 | 9644 | 219
10 27 17 | Reactor excess reactivity - Test section Temperature coeff | 408 | 16h53 | 10540 | 10759 | 220 | [8 empty] | -
11 14 17 | Reactor excess reactivity - Test section | 408 | 10h50 | 1070 | 1312 | 243 | 65.21 |  | 10.3 | [5 empty] | -
11 14 17 | Critical height : 30.00 | 408 | 11h07 | - | - | - | - | - | - | - | - | - | - | - | -
11 14 17 | Test section temperature profile | 408 | 11h11 | 2610 | 3026 | 417 | [8 empty] | 12
11 14 17 | Test section temperature profile | 408 | 11h20 | 3114 | 3375 | 262 | [8 empty] | 8.3
11 14 17 | Test section temperature profile | 408 | 11h26 | 3477 | 3789 | 313 | [8 empty] | 3.9
11 14 17 | Critical height : 29.92 | 408 | 12h15 | - | - | - | - | - | - | - | - | - | - | - | -
11 14 17 | Test section temperature profile | 408 | 12h31 | 7400 | 7490 | 91 | [8 empty] | 12
11 14 17 | Test section temperature profile | 408 | 12h33 | 7511 | 7549 | 39 | [8 empty] | 8.3
11 14 17 | Test section temperature profile | 408 | 12h34 | 7560 | 7595 | 36 | [8 empty] | 6.1
11 14 17 | Test section temperature profile | 408 | 12h35 | 7605 | 7687 | 83 | [8 empty] | 3.9
11 14 17 | Critical height : 29.80 | 408 | 12h56 | - | - | - | - | - | - | - | - | - | - | - | -
11 14 17 | Dynamic flowrate | 408 | 12h56 | 8895 | 9228 | 334 | [8 empty] | ramp up 300s
11 14 17 | Dynamic flowrate | 408 | 13h28 | 10796 | 11197 | 402 | [8 empty] | ramp up 300s
11 14 17 | Dynamic flowrate | 408 | 14h03 | 12903 | 13142 | 240 | [8 empty] | ramp up 200s
11 14 17 | Dynamic flowrate | 408 | 14h57 | 16169 | 16456 | 288 | [8 empty] | ramp up 100s
11 14 17 | Dynamic flowrate | 408 | 15h18 | 17432 | 17925 | 494 | [8 empty] | ramp down 300s
11 14 17 | Reactor excess reactivity - Test section | 408 | 16h37 | 22276 | 22555 | 280 | [8 empty] | -
11 14 17 | Critical height : 29.20 | 408 | 16h58 | - | - | - | - | - | - | - | - | - | - | - | -
11 14 17 | Dynamic flowrate | 408 | 17h | 23463 | 23677 | 215 | [8 empty] | ramp down 200s
11 14 17 | Critical height : 29.04 | 408 | 17h16 | - | - | - | - | - | - | - | - | - | - | - | -
11 14 17 | Dynamic flowrate | 408 | 17h17 | 24531 | 24845 | 315 | [8 empty] | ramp down 200s
11 14 17 | Critical height : 28.95 | 408 | 17h33 | - | - | - | - | - | - | - | - | - | - | - | -
11 14 17 | Dynamic flowrate | 408 | 17h35 | 25562 | 25913 | 352 | [8 empty] | ramp down 300s
11 22 17 | Reactor excess reactivity - Test section | 408 | 10h37 | 1106 | 1424 | 319 | [8 empty] | -
11 22 17 | Crit height 29.88 | 408 | 10h47 | - | - | - | - | - | - | - | - | - | - | - | -
11 22 17 | Dynamic flowrate | 408 | 10h48 | 2428 | 2836 | 409 | [8 empty] | ramp up 600s | with initialization at 3200
11 22 17 | Crit height 29.41 | 408 | 11h15 | - | - | - | - | - | - | - | - | - | - | - | -
11 22 17 | Dynamic flowrate | 408 | 11h16 | 3805 | 4382 | 578 | [8 empty] | ramp up 600s | with initialization at 3200
11 22 17 | Crit height 29.51 | 408 | 11h42 | - | - | - | - | - | - | - | - | - | - | - | -
11 22 17 | Dynamic flowrate | 408 | 11h42 | 5256 | 5811 | 556 | [8 empty] | ramp up 600s | with initialization at 3200
11 22 17 | Crit height 26.8 | 408 | 11h59 | - | - | - | - | - | - | - | - | - | - | - | -
11 22 17 | Dynamic flowrate | 408 | 12h00 | 6402 | 6876 | 475 | [8 empty] | sinus 60 s P
11 22 17 | Dynamic flowrate | 408 | 12h10 | 7133 | 7632 | 500 | [8 empty] | sinus 120 s P
11 22 17 | Reactor excess reactivity - Test section | 408 | 12h46 | 9199 | 9592 | 394 | [8 empty] | -
11 22 17 | Crit height 27.05 | 408 | 13h17 | - | - | - | - | - | - | - | - | - | - | - | -
11 22 17 | Dynamic flowrate | 408 | 13h17 | 11095 | 11685 | 591 | [8 empty] | sinus 240s P
11 22 17 | Crit height 27.10 | 408 | 13h54 | - | - | - | - | - | - | - | - | - | - | - | -
11 22 17 | Dynamic flowrate | 408 | 14h11 | 14208 | 15151 | 944 | [8 empty] | sinus 60 s P
11 22 17 | Reactor excess reactivity - Test section | 408 | 14h43 | 15932 | 16218 | 287 | [8 empty] | -
11 22 17 | Reactor excess reactivity - Test section | 408 | 15h00 | 17291 | 17567 | 277 | [8 empty] | -
11 22 17 | Reactor excess reactivity - Test section | 408 | 15h21 | 18744 | 19016 | 273 | [8 empty] | -
11 22 17 | Reactor excess reactivity - Test section | 408 | 15h55 | 20584 | 20846 | 263 | [8 empty] | -
12 12 17 | Reactor excess reactivity - Test section Temperature coeff | 408 | 10h40 | 1212 | 1519 | 308 |  |  | 12.7 |  | 55
12 12 17 | Reactor excess reactivity - Test section Temperature coeff | 408 | 11h27 | 3807 | 4053 | 247 |  |  | 15 |  | 60
12 12 17 | Reactor excess reactivity - Test section Temperature coeff | 408 | 11h50 | 6026 | 6270 | 245 |  |  | 16.7 |  | 65.7
12 12 17 | Reactor excess reactivity - Test section Temperature coeff | 408 | 12h30 | 7960 | 8219 | 260 |  |  | 17.4 |  | 70
12 12 17 | Reactor excess reactivity - Test section Temperature coeff | 408 | 13h05 | 9828 | 10063 | 236 |  |  | 17.4 |  | 75
12 12 17 | Reactor excess reactivity - Test section Temperature coeff | 408 | 13h40 | 11857 | 12107 | 251 |  |  | 17.8 |  | 80
12 12 17 | Reactor excess reactivity - Test section Temperature coeff | 408 | 14h15 | 14119 | 14374 | 256 |  |  | 17.6 |  | 85
12 12 17 | Reactor excess reactivity - Test section Temperature coeff | 408 | 14h54 | 16230 | 16480 | 251 |  |  | 17.1 |  | 90
12 12 17 | Reactor excess reactivity - Test section Temperature coeff | 408 | 15h30 | 18763 | 19015 | 253 |  |  | 16.5 |  | 95
12 12 17 | Reactor excess reactivity - Test section Temperature coeff | 408 | 15h45 | 21024 | 21095 | 72 |  |  | 15.6 |  | 100
12 12 17 | Test section temperature profile | 408 | 15h46 | 21193 | 21317 | 125 |  |  |  |  | 100
12 12 17 | Reactor excess reactivity - Test section Temperature coeff | 408 | 17h08 | 24414 | 24480 | 67 |  |  | 15.4 |  | 105
12 12 17 | Test section temperature profile | 408 | 17h09 | 24532 | 24959 | 428 |  |  |  |  | 105

## Feuil2
10/18-20/2017
Measurement | rho - | rho + | FLOW RATE (GPM) | rho (cents) | Reactor average temp | Inlet average temp | Outlet average temp | Delta T inlet-outlet | delta T inlet during measurement
1 | 19.1637 | 19.2331 | 0 | 19.1984 | 62.9183 | 63.6507 | 63.9068 | 0.25608 | 0
2 | 2.7038 | 2.7206 | 12.7 | 2.7122 | 62.7163 | 80.5127 | 82.8731 | 2.3604 | 1.5
3 | 4.6276 | 4.6569 | 12.7 | 4.6422 | 64.1558 | 100.6866 | 96.4127 | -4.2738 | -0.36667
4 | 2.9057 | 3.0013 | 9.2 | 2.9535 | 64.8957 | 101.2361 | 96.1341 | -5.102 | -0.8
5 | 3.0858 | 3.1259 | 7 | 3.1059 | 64.9835 | 100.431 | 94.7346 | -5.6963 | 0.46667
6 | 4.5703 | 4.6284 | 5.7 | 4.5994 | 64.9502 | 99.5749 | 92.7486 | -6.8263 | 0
7 | 3.7868 | 3.857 | 2.6 | 3.8219 | 65.0863 | 100.5944 | 90.6126 | -9.9818 | 0.6
8 | 6.4912 | 6.6146 | 12.7 | 6.5529 | 65.0217 | 115.4532 | 109.6854 | -5.7678 | -0.5
9 | 7.6685 | 7.7427 | 9.6 | 7.7056 | 65.1352 | 122.8717 | 115.232 | -7.6397 | 0.46667
10 | 6.3668 | 6.4328 | 7 | 6.3998 | 65.3595 | 127.7777 | 117.3165 | -10.4612 | -0.53333
11 | 5.8377 | 5.9139 | 5.7 | 5.8758 | 65.8202 | 119.638 | 108.7717 | -10.8663 | -0.9
12 | 6.0237 | 6.1196 | 3 | 6.0717 | 65.8201 | 120.6178 | 104.1818 | -16.436 | -1.3333
13 | 17.6734 | 17.7829 | 0 | 17.7282 | 65.4965 | 91.4 | 99.5421 | 8.1421 | 0
2017-10-25
Measurement | rho - | rho + | FLOW RATE (GPM) | rho (cents) | RHO ON SITE | Reactor average temp | Inlet average temp | Outlet average temp | Delta T inlet-outlet | delta T inlet during measurement
1 | 18.6111 | 18.7668 | 0 | 18.689 |  | 65.1658 | 64.8425 | 65.3251 | 0.48265 | 0
2 | 1.8423 | 1.8817 | 2.4 | 1.862 | 2.11 | 65.0794 | 98.3835 | 88.2469 | -10.1366 | 0.7 |  |  | ln2= | 0.69315
3 | 2.244 | 2.2878 | 7.4 | 2.2659 | 2.53 | 65.3628 | 97.5025 | 92.3243 | -5.1782 | -0.1
4 | 2.6606 | 2.7129 | 13.2 | 2.6868 | 2.85 | 65.8644 | 100.9703 | 96.8686 | -4.1017 | -0.5
5 | 1.4133 | 1.4643 | 2.6 | 1.4388 | 4.01 | 65.9184 | 114.681 | 99.5724 | -15.1086 | -0.6
6 | 4.9565 | 5.0911 | 7 | 5.0238 | 4.9 | 66.3667 | 118.7793 | 110.3676 | -8.4117 | 0.16667 |  |  |  |  | TEMPERATURE COEFFICIENT OF REACTIVITY (TEST SECTION)
7 | 5.3189 | 5.3971 | 13.2 | 5.358 | 5.58 | 66.668 | 121.5511 | 115.3204 | -6.2307 | -0.2 |  |  |  |  | DAY | rho (cents) | Reactor average temp
8 | 6.9132 | 6.967 | 2.4 | 6.9401 | 6.92 | 66.6098 | 134.1308 | 113.0605 | -21.0703 | -1.0333 |  |  |  |  | 2017-11-22 | 10.5713 | 51.0465
9 | 8.0764 | 8.1255 | 7.2 | 8.101 | 7.95 | 67.0303 | 136.5576 | 125.0686 | -11.489 | -0.3 |  |  |  |  | 2017-11-14 | 10.6163 | 51.6664 | 2017-12-12 | 12.7 | 55
10 | 8.7077 | 8.7666 | 13.2 | 8.7371 | 8.34 | 67.077 | 137.3774 | 129.0962 | -8.2812 | -0.9 |  |  |  |  | 2017-11-22 | 11.768 | 54.3941 | 2017-12-12 | 15 | 60
11 | 7.2749 | 7.3935 | 2.2 | 7.3342 | 9.03 | 67.034 | 148.1 | 123.3556 | -24.7444 | 0.96667 |  |  |  |  | 2017-12-12 | 12.7 | 55 | 2017-12-12 | 16.6 | 65.7
12 | 9.0568 | 9.2048 | 7.4 | 9.1308 | 9.44 | 67.103 | 142.8095 | 130.6642 | -12.1453 | 0.43333 |  |  |  |  | 2017-11-14 | 12.6399 | 55.7001 | 2017-12-12 | 17.4 | 70
13 | 9.281 | 9.3627 | 13.2 | 9.3219 | 9.21 | 67.2471 | 138.1816 | 130.0153 | -8.1663 | 1.9667 |  |  |  |  | 2017-11-22 | 13.9828 | 58.07 | 2017-12-12 | 17.4 | 75
14 | 2.896 | 2.93 | 0 | 2.913 |  | 66.5944 | 77.8039 | 72.1015 | -5.7024 | 0.16667 |  |  |  |  | 2017-11-22 | 14.1445 | 59.2563 | 2017-12-12 | 17.8 | 80
15 | 15.6357 | 15.7256 | 0 | 15.6806 |  | 66.6181 | 75.9384 | 71.2557 | -4.6826 | 0.13333 |  |  |  |  | 2017-12-12 | 15 | 60 | 2017-12-12 | 17.6 | 85
2017-10-27 | [14 empty] | 2017-11-22 | 14.9055 | 60.6297 | 2017-12-12 | 17.1 | 90
1 | 15.262 | 15.3336 | 0 | 15.2978 | 15.5 | 64 | 0.12925 | [7 empty] | 2017-11-22 | 15.1515 | 62.2331 | 2017-12-12 | 16.5 | 95
2 | 15.58 | 15.6541 | 0 | 15.6171 | 15.8 | 66.47 | 0.30649 | [7 empty] | 2017-10-27 | 15.2978 | 64 | 2017-12-12 | 15.6 | 100
3 | 16.1094 | 16.1975 | 0 | 16.1534 | 16.3 | 68.22 | -0.050238 | [7 empty] | 2017-12-12 | 16.6 | 65.7 | 2017-12-12 | 15.4 | 105
4 | 15.9861 | 16.0796 | 0 | 16.0328 | 16.3 | 70.62 | 0.2278 | [7 empty] | 2017-10-27 | 15.6171 | 66.47
5 | 16.4101 | 16.503 | 0 | 16.4566 | 16.7 | 72.48 | 0.048527 | [7 empty] | 2017-10-27 | 16.1534 | 68.22
6 | 16.09 | 16.09 | 0 | 16.59 | 16.8 | 75.23 | 0.2739 | [7 empty] | 2017-12-12 | 17.4 | 70
7 | 17.0647 | 17.1506 | 0 | 17.1077 | 17.3 | 77.12 | 0.10133 | [7 empty] | 2017-10-27 | 16.0328 | 70.62
8 | 17.3059 | 17.3776 | 0 | 17.3417 | 17.4 | 79.43 | -0.03268 | [7 empty] | 2017-10-27 | 16.4566 | 72.48
9 | 17.2413 | 17.3304 | 0 | 17.2859 | 17.5 | 81.14 | 0.21304 | [7 empty] | 2017-12-12 | 17.4 | 75
[15 empty] | 2017-10-27 | 16.59 | 75.23
2017-11-14 | [14 empty] | 2017-10-27 | 17.1077 | 77.12
Measurement | rho - | rho + | FLOW RATE (GPM) | rho (cents) | Reactor average temp | Inlet average temp | Outlet average temp | Delta T inlet-outlet | delta T inlet during measurement | [5 empty] | 2017-10-27 | 17.3417 | 79.43
1 | 10.5988 | 10.6337 | 0 | 10.6163 | 51.6664 | 46.0253 | 45.1307 | 0.89459 | 0.33333 | [5 empty] | 2017-12-12 | 17.8 | 80
2 | 2.1064 | 2.1948 | 12.7 | 2.1506 | 51.3724 | 67.4759 | 65.9562 | 1.5197 | 1.6 | [5 empty] | 2017-10-27 | 17.2859 | 81.14
3 | 2.3959 | 2.4509 | 8 | 2.4234 | 52.088 | 72.5368 | 69.4621 | 3.0747 | -0.4 | [5 empty] | 2017-12-12 | 17.6 | 85
4 | 2.046 | 2.2396 | 4 | 2.1428 | 52.0359 | 72.1353 | 66.8962 | 5.2391 | 0.63333 | [5 empty] | 2017-12-12 | 17.1 | 90
5 | 11.3528 | 11.6565 | 12.7 | 11.5046 | 51.7611 | 140.2992 | 129.3429 | 10.9563 | 3.5667 | [5 empty] | 2017-12-12 | 16.5 | 95
6 | 10.919 | 11.1944 | 8 | 11.0567 | 51.8889 | 141.1744 | 128.8538 | 12.3205 | -0.96667 | [5 empty] | 2017-12-12 | 15.6 | 100
7 | 9.8718 | 10.3094 | 6 | 10.0906 | 52.0111 | 139.4611 | 124.9792 | 14.4819 | -0.86667 | [5 empty] | 2017-12-12 | 15.4 | 105
8 | 8.5599 | 8.7068 | 3 | 8.6334 | 51.7881 | 137.7593 | 117.78 | 19.9793 | -0.9
9 | 12.6078 | 12.6721 | 0 | 12.6399 | 55.7001 | 121.3936 | 99.9159 | 21.4777 | -2.4
10
11
12
13
2017-11-22
Measurement | rho - | rho + | FLOW RATE (GPM) | rho (cents) | Reactor average temp | Inlet average temp | Outlet average temp | Delta T inlet-outlet | delta T inlet during measurement
1 | 10.548 | 10.5947 | 0 | 10.5713 | 51.0465 | 48.7279 | 46.8662 | 1.8617 | 0
2 | 11.7506 | 11.7854 | 0 | 11.768 | 54.3941 | 113.3295 | 104.616 | 8.7135 | 0
3 | 13.9471 | 14.0184 | 0 | 13.9828 | 58.07 | 112.0881 | 107.6765 | 4.4116 | 0
4 | 14.103 | 14.1861 | 0 | 14.1445 | 59.2563 | 103.8468 | 96.5042 | 7.3427 | 0
5 | 14.8731 | 14.9378 | 0 | 14.9055 | 60.6297 | 94.9526 | 87.4439 | 7.5087 | 0
6 | 15.1119 | 15.1912 | 0 | 15.1515 | 62.2331 | 85.6514 | 78.7984 | 6.853 | 0
2017-12-12
Measurement | rho - | rho + | FLOW RATE (GPM) | rho (cents) | Reactor average temp | Inlet average temp | Outlet average temp | Delta T inlet-outlet | delta T inlet during measurement
1 |  |  | 0 | #DIV/0!
2 |  |  | 0 | #DIV/0!
3 |  |  | 0 | #DIV/0!
4 |  |  | 0 | #DIV/0!
5 |  |  | 0 | #DIV/0!
6 |  |  | 0 | #DIV/0!
[8 empty] | 1.862 | 65.0794 | 98.3835 | 88.2469
[8 empty] | 1.4388 | 65.9184 | 114.681 | 99.5724
[8 empty] | 7.3342 | 67.034 | 148.1 | 123.3556
| FLOW RATE (GPM) | rho (cents) | Outlet average temp | Inlet average temp | Reactor average temp |  | FLOW RATE (GPM) | rho (cents) | Inlet average temp | Outlet average temp | Reactor average temp
| 7.2 | 2.2659 | 92.3243 | 97.5025 | 65.3628 |  | 2.6 gpm | 1.862 | 98.3835 | 88.2469 | 65.0794
|  | 3.1059 | 94.7346 | 100.431 | 64.9835 |  |  | 3.8219 | 100.5944 | 90.6126 | 65.0863
|  | 5.0238 | 110.3676 | 118.7793 | 66.3667 |  |  | 1.4388 | 114.681 | 99.5724 | 65.9184
|  | 6.3998 | 117.3165 | 127.7777 | 65.3595 |  |  | 6.0717 | 120.6178 | 104.1818 | 65.8201
|  | 8.101 | 125.0686 | 136.5576 | 67.0303 |  |  | 6.9401 | 134.1308 | 113.0605 | 66.6098
|  | 9.1308 | 130.6642 | 142.8095 | 67.103 |  |  | 7.3342 | 148.1 | 123.3556 | 67.034
| 2.6 | 1.862 | 88.2469 | 98.3835 | 65.0794 |  | 5.7 gpm | 4.5994 | 99.5749 | 92.7486 | 64.9502
|  | 3.8219 | 90.6126 | 100.5944 | 65.0863 |  |  | 5.8758 | 119.638 | 108.7717 | 65.8202
|  | 1.4388 | 99.5724 | 114.681 | 65.9184 |  | 7.2 gpm | 2.2659 | 97.5025 | 92.3243 | 65.3628
|  | 6.0717 | 104.1818 | 120.6178 | 65.8201 |  |  | 3.1059 | 100.431 | 94.7346 | 64.9835
|  | 7.3342 | 123.3556 | 148.1 | 67.034 |  |  | 5.0238 | 118.7793 | 110.3676 | 66.3667
| 13 | 2.7122 | 82.8731 | 80.5127 | 62.7163 |  |  | 6.3998 | 127.7777 | 117.3165 | 65.3595
|  | 4.6422 | 96.4127 | 100.6866 | 64.1558
[8 empty] | 9.1308 | 142.8095 | 130.6642 | 67.103
|  | 6.5529 | 109.6854 | 115.4532 | 65.0217 |  | 9.4 gpm | 2.9535 | 101.2361 | 96.1341 | 64.8957
[8 empty] | 7.7056 | 122.8717 | 115.232 | 65.1352
[7 empty] | 13.0 gpm | 2.7122 | 80.5127 | 82.8731 | 62.7163
[8 empty] | 4.6422 | 100.6866 | 96.4127 | 64.1558
[8 empty] | 6.5529 | 115.4532 | 109.6854 | 65.0217
[8 empty] | 2.6868 | 100.9703 | 96.8686 | 65.8644
[8 empty] | 5.358 | 121.5511 | 115.3204 | 66.668
[8 empty] | 8.7371 | 137.3774 | 129.0962 | 67.077
[8 empty] | 9.3219 | 138.1816 | 130.0153 | 67.2471
[7 empty] | 13.0 gpm | 2.7122 | 82.8731 | 80.5127 | 62.7163 | 2.3604
[8 empty] | 4.6422 | 100.6866 | 96.4127 | 64.1558 | 4.2738
[8 empty] | 6.5529 | 115.4532 | 109.6854 | 65.0217 | 5.7678
[8 empty] | 9.3219 | 138.1816 | 130.0153 | 67.2471 | 8.1663
[7 empty] | 7.2 gpm | 2.2659 | 97.5025 | 92.3243 | 65.3628 | 5.1782
[8 empty] | 5.0238 | 118.7793 | 110.3676 | 66.3667 | 8.4117
[8 empty] | 6.3998 | 127.7777 | 117.3165 | 65.3595 | 10.4612
[8 empty] | 9.1308 | 142.8095 | 130.6642 | 67.103 | 12.1453

## Feuil3
[8 empty] | START TIME |  |  |  | END TIME
val(:,:,1) = | val(:,:,1) = | [6 empty] | 1 1 1 | 1 2 1 | 1 3 1
[8 empty] | 812 | 1409 | 1409 |  | 1037 | 1539 | 1539
1037 1539 1539 | 812 1409 1409 | 812 | 1044 | 1409 | 1037 | 1300 | 1539 | 4460 | 2443 | 2794 |  | 4644 | 2648 | 2943
|  | 4460 | 2443 | 2794 | 4644 | 2648 | 2943 | 8543 | 3579 | 4056 |  | 8902 | 3916 | 4212
|  | 8543 | 3579 | 4056 | 8902 | 3916 | 4212 | 9975 | 5105 | 5503 |  | 10108 | 5406 | 5669
val(:,:,2) = | val(:,:,2) = | 9975 | 5105 | 5503 | 10108 | 5406 | 5669 | 0 | 6923 | 7521 |  | 0 | 7230 | 7714
|  | 0 | 6923 | 7521 | 0 | 7230 | 7714 | 0 | 8619 | 9611 |  | 0 | 8945 | 9849
4644 2648 2943 | 4460 2443 2794 | 0 | 8619 | 9611 | 0 | 8945 | 9849 | 0 | 10944 | 11748 |  | 0 | 11305 | 12049
|  | 0 | 10944 | 11748 | 0 | 11305 | 12049 | 0 | 13516 | 14072 |  | 0 | 13961 | 17782
|  | 0 | 13516 | 17072 | 0 | 13961 | 14782 | 0 | 15744 | 16026 |  | 0 | 16349 | 16526
val(:,:,3) = | val(:,:,3) = | 0 | 15744 | 16026 | 0 | 16349 | 16526 | 0 | 18050 | 18049 |  | 0 | 18757 | 18779
|  | 0 | 18050 | 18049 | 0 | 18757 | 18779 | 0 | 22073 | 20751 |  | 0 | 23420 | 21825
8902 3916 4212 | 8543 3579 4056 | 0 | 18832 | 20751 | 0 | 20012 | 21825 | 0 | 25020 | 0 |  | 0 | 28349 | 0
|  | 0 | 22073 | 0 | 0 | 23420 | 0 | 0 | 18832 | 0 |  | 0 | 20012 | 0
|  | 0 | 25020 | 0 | 0 | 28349 | 0 | 0 | 28444 | 0 |  | 0 | 29727 | 0
val(:,:,4) = | val(:,:,4) = | 0 | 28444 | 0 | 0 | 29727 | 0
10108 5406 5669 | 9975 5105 5503 | [6 empty] | exp | START TIME | END TIME
[7 empty] | SHEET1 | 1 | 812 | 1037 | 226 | 812 | 1037 | 226
[8 empty] | 2 | 4460 | 4644 | 185 | 4460 | 4644 | 185
val(:,:,5) = | val(:,:,5) = | [6 empty] | 3 | 8543 | 8902 | 360 | 8543 | 8902 | 360
[8 empty] | 4 | 9975 | 10108 | 134 | 9975 | 10108 | 134
0 7230 7714 | 0 6923 7521 | [5 empty] | SHEET2 | 5 | 1044 | 1300 | 257 | 1044 | 1300 | 257
[8 empty] | 6 | 2443 | 2648 | 206 | 2443 | 2648 | 206
[8 empty] | 7 | 3579 | 3916 | 338 | 3579 | 3916 | 338
val(:,:,6) = | val(:,:,6) = | [6 empty] | 8 | 5105 | 5406 | 302 | 5105 | 5406 | 302
[8 empty] | 9 | 6923 | 7230 | 308 | 6923 | 7230 | 308
0 8945 9849 | 0 8619 9611 | [6 empty] | 10 | 8619 | 8945 | 327 | 8619 | 8945 | 327
[8 empty] | 11 | 10944 | 11305 | 362 | 10944 | 11305 | 362
[8 empty] | 12 | 13516 | 13961 | 446 | 13516 | 13961 | 446
val(:,:,7) = | val(:,:,7) = | [6 empty] | 13 | 15744 | 16349 | 606 | 15744 | 16349 | 606
[8 empty] | 14 | 18050 | 18757 | 708 | 18050 | 18757 | 708
0 11305 12049 | 0 10944 11748 | [6 empty] | 15 | 18832 | 20012 | 1181 | 22073 | 23420 | 1181
[8 empty] | 16 | 22073 | 23420 | 1348 | 25020 | 28349 | 1348
[8 empty] | 17 | 25020 | 28349 | 3330 | 18832 | 20012 | 3330
val(:,:,8) = | val(:,:,8) = | [6 empty] | 18 | 28444 | 29727 | 1284 | 28444 | 29727 | 1284
[7 empty] | SHEET 3 | 19 | 1409 | 1539 | 131 | 1409 | 1539 | 131
0 13961 17782 | 0 13516 14072 | [6 empty] | 20 | 2794 | 2943 | 150 | 2794 | 2943 | 150
[8 empty] | 21 | 4056 | 4212 | 157 | 4056 | 4212 | 157
[8 empty] | 22 | 5503 | 5669 | 167 | 5503 | 5669 | 167
val(:,:,9) = | val(:,:,9) = | [6 empty] | 23 | 7521 | 7714 | 194 | 7521 | 7714 | 194
[8 empty] | 24 | 9611 | 9849 | 239 | 9611 | 9849 | 239
0 16349 16526 | 0 15744 16026 | [6 empty] | 25 | 11748 | 12049 | 302 | 11748 | 12049 | 302
[8 empty] | 26 | 17072 | 14782 | -2289 | 14072 | 14782 | 711
[8 empty] | 27 | 16026 | 16526 | 501 | 16026 | 16526 | 501
val(:,:,10) = | val(:,:,10) = | [6 empty] | 28 | 18049 | 18779 | 731 | 18049 | 18779 | 731
[8 empty] | 29 | 20751 | 21825 | 1075 | 20751 | 21825 | 1075
0 18757 18779 | 0 18050 18049
val(:,:,11) = | val(:,:,11) =
0 23420 21825 | 0 22073 20751
val(:,:,12) = | val(:,:,12) =
0 28349 0 | 0 25020 0
val(:,:,13) = | val(:,:,13) =
0 20012 0 | 0 18832 0
val(:,:,14) = | val(:,:,14) =
0 29727 0 | 0 28444 0